## cover
INSPECTION CERTIFICATE
(Testing of Manufacturing section)
Messrs. CERN | [5 empty] | Report No. | TK04-6989
[6 empty] | Date. | Jan. 28, 2005
Description: |  | C3YY12-PA1PB1Z001-18.0M0000
MFG No.: | 90-498-6060
Quantity : | 39 |  | pcs.
Manager
H. AKIMOTO
Quality Assurance Section
Lightwave Network Products Division
SUMITOMO ELECTRIC INDUSTRIES,LTD.
1,TAYA-CHO,SAKAE-KU,YOKOHAMA,244-8588 JAPAN

## TestData PA
MFG No. : | 90-498-6060 |  |  |  | Test data( Testing of Manufacturing section)
Connector: | MPO.M
Fiber lot No.: | ZN01740
[14 empty] | Spec. | Insertion loss | 0.75
| Optical data(Power source: | 1310 | nm) | [11 empty] | Return loss | ≧55dB
QR | SEI | Insertion loss (dB) | [13 empty] | Return loss (dB)
Cord No. | Serial No. | 1ch | 2ch | 3ch | 4ch | 5ch | 6ch | 7ch | 8ch | 9ch | 10ch | 11ch | 12ch | AVE | MAX
33013064200832 | 6060-ZN01740-0001 | 0.07 | 0.03 | 0.04 | 0.03 | 0.11 | 0.01 | 0.19 | 0.2 | 0.06 | 0.06 | 0.09 | 0.01 | 0.075 | 0.2 | all fibers ≧ 55dB
33013064200892 | 6060-ZN01740-0003 | 0.04 | 0.03 | 0.04 | 0.04 | 0.07 | 0.07 | 0.29 | 0.25 | 0.06 | 0.04 | 0.12 | 0.07 | 0.093333 | 0.29 | all fibers ≧ 55dB
33013064200833 | 6060-ZN01740-0005 | 0.03 | 0.05 | 0.05 | 0.08 | 0.06 | 0.06 | 0.25 | 0.27 | 0.06 | 0.02 | 0.13 | 0.01 | 0.089167 | 0.27 | all fibers ≧ 55dB
33013064200862 | 6060-ZN01740-0007 | 0.09 | 0.04 | 0.05 | 0.05 | 0.1 | 0.05 | 0.12 | 0.15 | 0.1 | 0.05 | 0.12 | 0.34 | 0.105 | 0.34 | all fibers ≧ 55dB
33013064200896 | 6060-ZN01740-0009 | 0.17 | 0.4 | 0.09 | 0.1 | 0.08 | 0.03 | 0.39 | 0.31 | 0.08 | 0.37 | 0.06 | 0.05 | 0.1775 | 0.4 | all fibers ≧ 55dB
33013064200822 | 6060-ZN01740-0011 | 0.06 | 0.05 | 0.07 | 0.15 | 0.08 | 0.12 | 0.4 | 0.415 | 0.09 | 0.05 | 0.05 | 0.03 | 0.13042 | 0.415 | all fibers ≧ 55dB
33013064200816 | 6060-ZN01740-0013 | 0.06 | 0.05 | 0.11 | 0.13 | 0.11 | 0.09 | 0.38 | 0.36 | 0.13 | 0.16 | 0.13 | 0.03 | 0.145 | 0.38 | all fibers ≧ 55dB
33013064200834 | 6060-ZN01740-0015 | 0.03 | 0.39 | 0.06 | 0.02 | 0.04 | 0.13 | 0.36 | 0.25 | 0.06 | 0.1 | 0.09 | 0.01 | 0.12833 | 0.39 | all fibers ≧ 55dB
33013064200877 | 6060-ZN01740-0017 | 0.1 | 0.11 | 0.06 | 0.03 | 0.07 | 0.07 | 0.18 | 0.18 | 0.12 | 0.13 | 0.13 | 0.15 | 0.11083 | 0.18 | all fibers ≧ 55dB
33013064200881 | 6060-ZN01740-0019 | 0.06 | 0.09 | 0.09 | 0.07 | 0.1 | 0.11 | 0.27 | 0.18 | 0.11 | 0.11 | 0.21 | 0.12 | 0.12667 | 0.27 | all fibers ≧ 55dB
33013064200827 | 6060-ZN01740-0021 | 0.415 | 0.5 | 0.14 | 0.1 | 0.04 | 0.05 | 0.27 | 0.23 | 0.04 | 0.12 | 0.1 | 0.07 | 0.17292 | 0.5 | all fibers ≧ 55dB
33013064200882 | 6060-ZN01740-0021 | 0.03 | 0.03 | 0.12 | 0.05 | 0.05 | 0.06 | 0.35 | 0.28 | 0.1 | 0.12 | 0.07 | 0.04 | 0.10833 | 0.35 | all fibers ≧ 55dB
33013064200829 | 6060-ZN01740-0021 | 0.04 | 0.02 | 0.08 | 0.09 | 0.05 | 0.05 | 0.22 | 0.24 | 0.08 | 0.06 | 0.06 | 0.06 | 0.0875 | 0.24 | all fibers ≧ 55dB
33013064200817 | 6060-ZN01740-0021 | 0.04 | 0.01 | 0.01 | 0.03 | 0.07 | 0.04 | 0.2 | 0.18 | 0.05 | 0.05 | 0.01 | 0.11 | 0.066667 | 0.2 | all fibers ≧ 55dB
33013064200839 | 6060-ZN01740-0021 | 0.01 | 0.03 | 0.12 | 0.13 | 0.09 | 0.09 | 0.3 | 0.29 | 0.07 | 0.09 | 0.1 | 0.14 | 0.12167 | 0.3 | all fibers ≧ 55dB
33013064200888 | 6060-ZN01740-0031 | 0.04 | 0.03 | 0.07 | 0.15 | 0.04 | 0.06 | 0.09 | 0.17 | 0.07 | 0.05 | 0.07 | 0.435 | 0.10625 | 0.435 | all fibers ≧ 55dB
33013064200887 | 6060-ZN01740-0033 | 0.08 | 0.03 | 0.16 | 0.06 | 0.05 | 0.12 | 0.26 | 0.21 | 0.07 | 0.06 | 0.1 | 0.19 | 0.11583 | 0.26 | all fibers ≧ 55dB
33013064200825 | 6060-ZN01740-0035 | 0.08 | 0.03 | 0.1 | 0.1 | 0.04 | 0.02 | 0.03 | 0.23 | 0.06 | 0.06 | 0.06 | 0.12 | 0.0775 | 0.23 | all fibers ≧ 55dB
33013064200806 | 6060-ZN01740-0037 | 0.09 | 0.06 | 0.09 | 0.14 | 0.01 | 0.03 | 0.27 | 0.24 | 0.06 | 0.05 | 0.05 | 0.13 | 0.10167 | 0.27 | all fibers ≧ 55dB
33013064200812 | 6060-ZN01740-0039 | 0.14 | 0.09 | 0.09 | 0.14 | 0.12 | 0.07 | 0.15 | 0.2 | 0.07 | 0.09 | 0.09 | 0.11 | 0.11333 | 0.2 | all fibers ≧ 55dB
33013064200859 | 6060-ZN01740-0041 | 0.13 | 0.07 | 0.07 | 0.05 | 0.12 | 0.04 | 0.14 | 0.12 | 0.07 | 0.08 | 0.05 | 0.09 | 0.085833 | 0.14 | all fibers ≧ 55dB
33013064200849 | 6060-ZN01740-0043 | 0.08 | 0.03 | 0.05 | 0.04 | 0.16 | 0.07 | 0.19 | 0.16 | 0.05 | 0.05 | 0.02 | 0.04 | 0.078333 | 0.19 | all fibers ≧ 55dB
33013064200840 | 6060-ZN01740-0045 | 0.06 | 0.05 | 0.11 | 0.07 | 0.06 | 0.03 | 0.08 | 0.2 | 0.04 | 0.06 | 0.02 | 0.09 | 0.0725 | 0.2 | all fibers ≧ 55dB
33013064200899 | 6060-ZN01740-0047 | 0.11 | 0.08 | 0.01 | 0.06 | 0.15 | 0.03 | 0.04 | 0.07 | 0.12 | 0.1 | 0.1 | 0.15 | 0.085 | 0.15 | all fibers ≧ 55dB
33013064200864 | 6060-ZN01740-0049 | 0.13 | 0.06 | 0.08 | 0.08 | 0.09 | 0.02 | 0.13 | 0.15 | 0.03 | 0.04 | 0.02 | 0.08 | 0.075833 | 0.15 | all fibers ≧ 55dB
33013064200830 | 6060-ZN01740-0051 | 0.34 | 0.36 | 0.2 | 0.23 | 0.15 | 0.16 | 0.24 | 0.33 | 0.14 | 0.13 | 0.06 | 0.1 | 0.20333 | 0.36 | all fibers ≧ 55dB
33013064200852 | 6060-ZN01740-0053 | 0.08 | 0.09 | 0.12 | 0.07 | 0.05 | 0.05 | 0.15 | 0.28 | 0.06 | 0.06 | 0.02 | 0.08 | 0.0925 | 0.28 | all fibers ≧ 55dB
33013064200819 | 6060-ZN01740-0055 | 0.1 | 0.09 | 0.11 | 0.09 | 0.09 | 0.05 | 0.2 | 0.15 | 0.05 | 0.09 | 0.07 | 0.06 | 0.095833 | 0.2 | all fibers ≧ 55dB
33013064200809 | 6060-ZN01740-0057 | 0.11 | 0.11 | 0.22 | 0.23 | 0.09 | 0.12 | 0.32 | 0.33 | 0.08 | 0.11 | 0.06 | 0.35 | 0.1775 | 0.35 | all fibers ≧ 55dB
33013064200857 | 6060-ZN01740-0059 | 0.14 | 0.05 | 0.09 | 0.11 | 0.08 | 0.07 | 0.13 | 0.24 | 0.08 | 0.09 | 0.05 | 0.22 | 0.1125 | 0.24 | all fibers ≧ 55dB
33013064200813 | 6060-ZN01740-0061 | 0.11 | 0.08 | 0.16 | 0.22 | 0.06 | 0.11 | 0.23 | 0.29 | 0.11 | 0.09 | 0.05 | 0.01 | 0.12667 | 0.29 | all fibers ≧ 55dB
33013064200893 | 6060-ZN01740-0063 | 0.12 | 0.1 | 0.15 | 0.17 | 0.08 | 0.09 | 0.26 | 0.33 | 0.08 | 0.06 | 0.07 | 0.27 | 0.14833 | 0.33 | all fibers ≧ 55dB
33013064200820 | 6060-ZN01740-0065 | 0.02 | 0.03 | 0.06 | 0.1 | 0.03 | 0.02 | 0.13 | 0.12 | 0.04 | 0.02 | 0.07 | 0.15 | 0.065833 | 0.15 | all fibers ≧ 55dB
33013064200872 | 6060-ZN01740-0067 | 0.15 | 0.05 | 0.11 | 0.08 | 0.07 | 0.09 | 0.13 | 0.27 | 0.08 | 0.06 | 0.05 | 0.09 | 0.1025 | 0.27 | all fibers ≧ 55dB
33013064200853 | 6060-ZN01740-0069 | 0.11 | 0.04 | 0.06 | 0.08 | 0.2 | 0.02 | 0.06 | 0.11 | 0.09 | 0.07 | 0.06 | 0.1 | 0.083333 | 0.2 | all fibers ≧ 55dB
33013064200846 | 6060-ZN01740-0071 | 0.09 | 0.09 | 0.12 | 0.17 | 0.04 | 0.11 | 0.2 | 0.32 | 0.05 | 0.07 | 0.08 | 0.04 | 0.115 | 0.32 | all fibers ≧ 55dB
33013064200871 | 6060-ZN01740-0073 | 0.07 | 0.02 | 0.07 | 0.21 | 0.02 | 0.1 | 0.28 | 0.3 | 0.05 | 0.07 | 0.03 | 0.02 | 0.10333 | 0.3 | all fibers ≧ 55dB
33013064200869 | 6060-ZN01740-0075 | 0.01 | 0.02 | 0.08 | 0.17 | 0.04 | 0.1 | 0.11 | 0.28 | 0.08 | 0.09 | 0.04 | 0.06 | 0.09 | 0.28 | all fibers ≧ 55dB
33013064200807 | 6060-ZN01740-0077 | 0.08 | 0.07 | 0.1 | 0.17 | 0.06 | 0.1 | 0.39 | 0.28 | 0.07 | 0.06 | 0.01 | 0.03 | 0.11833 | 0.39 | all fibers ≧ 55dB

## TestData PB
MFG No. : | 90-498-6060 |  |  |  | Test data( Testing of Manufacturing section)
Connector: | MPO.F
Fiber lot No.: | ZN01740
[14 empty] | Spec. | Insertion loss | 0.75
| Optical data(Power source: | 1310 | nm) | [11 empty] | Return loss | ≧55dB
QR | SEI | Insertion loss (dB) | [13 empty] | Return loss (dB)
Cord No. | Serial No. | 1ch | 2ch | 3ch | 4ch | 5ch | 6ch | 7ch | 8ch | 9ch | 10ch | 11ch | 12ch | AVE | MAX
33013064100110 | 6060-ZN01740-0002 | 0.06 | 0.09 | 0.08 | 0.05 | 0.07 | 0.12 | 0.08 | 0.03 | 0.3 | 0.22 | 0.12 | 0.5 | 0.14333 | 0.5 | all fibers ≧ 55dB
33013064100801 | 6060-ZN01740-0004 | 0.23 | 0.16 | 0.23 | 0.13 | 0.35 | 0.3 | 0.21 | 0.22 | 0.36 | 0.19 | 0.24 | 0.415 | 0.25292 | 0.415 | all fibers ≧ 55dB
33013064100166 | 6060-ZN01740-0006 | 0.23 | 0.19 | 0.14 | 0.23 | 0.14 | 0.16 | 0.11 | 0.12 | 0.18 | 0.05 | 0.08 | 0.22 | 0.15417 | 0.23 | all fibers ≧ 55dB
33013064100126 | 6060-ZN01740-0008 | 0.03 | 0.12 | 0.09 | 0.09 | 0.2 | 0.19 | 0.11 | 0.09 | 0.22 | 0.05 | 0.13 | 0.28 | 0.13333 | 0.28 | all fibers ≧ 55dB
33013064100158 | 6060-ZN01740-0010 | 0.22 | 0.09 | 0.09 | 0.03 | 0.11 | 0.09 | 0.15 | 0.09 | 0.11 | 0.14 | 0.05 | 0.24 | 0.1175 | 0.24 | all fibers ≧ 55dB
33013064100802 | 6060-ZN01740-0012 | 0.08 | 0.24 | 0.24 | 0.23 | 0.15 | 0.2 | 0.455 | 0.03 | 0.08 | 0.01 | 0.14 | 0.12 | 0.16458 | 0.455 | all fibers ≧ 55dB
33013064100886 | 6060-ZN01740-0014 | 0.05 | 0.15 | 0.04 | 0.05 | 0.07 | 0.1 | 0.09 | 0.02 | 0.08 | 0.08 | 0.18 | 0.47 | 0.115 | 0.47 | all fibers ≧ 55dB
33013064100187 | 6060-ZN01740-0016 | 0.14 | 0.15 | 0.1 | 0.14 | 0.3 | 0.23 | 0.15 | 0.2 | 0.35 | 0.13 | 0.28 | 0.23 | 0.2 | 0.35 | all fibers ≧ 55dB
33013064100167 | 6060-ZN01740-0018 | 0.07 | 0.1 | 0.05 | 0.03 | 0.13 | 0.14 | 0.07 | 0.07 | 0.19 | 0.05 | 0.19 | 0.29 | 0.115 | 0.29 | all fibers ≧ 55dB
33013064100169 | 6060-ZN01740-0020 | 0.1 | 0.09 | 0.21 | 0.23 | 0.25 | 0.38 | 0.29 | 0.34 | 0.39 | 0.33 | 0.32 | 0.47 | 0.28333 | 0.47 | all fibers ≧ 55dB
33013064100108 | 6060-ZN01740-0021 | 0.22 | 0.13 | 0.36 | 0.08 | 0.09 | 0.07 | 0.12 | 0.08 | 0.18 | 0.04 | 0.1 | 0.32 | 0.14917 | 0.36 | all fibers ≧ 55dB
33013064100124 | 6060-ZN01740-0021 | 0.02 | 0.14 | 0.05 | 0.02 | 0.07 | 0.08 | 0.09 | 0.04 | 0.06 | 0.04 | 0.03 | 0.13 | 0.064167 | 0.14 | all fibers ≧ 55dB
33013064100190 | 6060-ZN01740-0021 | 0.01 | 0.09 | 0.09 | 0.04 | 0.06 | 0.04 | 0.06 | 0.04 | 0.08 | 0.02 | 0.02 | 0.17 | 0.06 | 0.17 | all fibers ≧ 55dB
33013064100103 | 6060-ZN01740-0021 | 0.07 | 0.07 | 0.16 | 0.04 | 0.06 | 0.04 | 0.09 | 0.02 | 0.08 | 0.02 | 0.01 | 0.16 | 0.068333 | 0.16 | all fibers ≧ 55dB
33013064100134 | 6060-ZN01740-0030 | 0.18 | 0.2 | 0.08 | 0.04 | 0.16 | 0.07 | 0.04 | 0.01 | 0.11 | 0.05 | 0.01 | 0.14 | 0.090833 | 0.2 | all fibers ≧ 55dB
33013064100808 | 6060-ZN01740-0032 | 0.04 | 0.08 | 0.02 | 0.06 | 0.02 | 0.01 | 0.04 | 0.02 | 0.06 | 0.04 | 0.04 | 0.14 | 0.0475 | 0.14 | all fibers ≧ 55dB
33013064100172 | 6060-ZN01740-0034 | 0.12 | 0.2 | 0.11 | 0.06 | 0.05 | 0.03 | 0.04 | 0.01 | 0.09 | 0.04 | 0.08 | 0.11 | 0.078333 | 0.2 | all fibers ≧ 55dB
33013064100193 | 6060-ZN01740-0036 | 0.05 | 0.05 | 0.02 | 0.04 | 0.01 | 0.03 | 0.06 | 0.02 | 0.15 | 0.12 | 0.07 | 0.39 | 0.084167 | 0.39 | all fibers ≧ 55dB
33013064100196 | 6060-ZN01740-0038 | 0.04 | 0.06 | 0.02 | 0.04 | 0.06 | 0.06 | 0.06 | 0.04 | 0.13 | 0.11 | 0.09 | 0.3 | 0.084167 | 0.3 | all fibers ≧ 55dB
33013064100152 | 6060-ZN01740-0040 | 0.08 | 0.07 | 0.03 | 0.07 | 0.06 | 0.02 | 0.13 | 0.08 | 0.02 | 0.05 | 0.05 | 0.19 | 0.070833 | 0.19 | all fibers ≧ 55dB
33013064100185 | 6060-ZN01740-0042 | 0.07 | 0.12 | 0.04 | 0.28 | 0.16 | 0.06 | 0.07 | 0.04 | 0.28 | 0.17 | 0.15 | 0.45 | 0.1575 | 0.45 | all fibers ≧ 55dB
33013064100200 | 6060-ZN01740-0044 | 0.13 | 0.14 | 0.05 | 0.15 | 0.22 | 0.09 | 0.08 | 0.06 | 0.13 | 0.12 | 0.19 | 0.34 | 0.14167 | 0.34 | all fibers ≧ 55dB
33013064100837 | 6060-ZN01740-0046 | 0.35 | 0.18 | 0.04 | 0.1 | 0.11 | 0.09 | 0.07 | 0.05 | 0.08 | 0.05 | 0.05 | 0.12 | 0.1075 | 0.35 | all fibers ≧ 55dB
33013064100171 | 6060-ZN01740-0048 | 0.11 | 0.15 | 0.06 | 0.16 | 0.06 | 0.08 | 0.11 | 0.04 | 0.1 | 0.03 | 0.05 | 0.17 | 0.093333 | 0.17 | all fibers ≧ 55dB
33013064100119 | 6060-ZN01740-0050 | 0.04 | 0.12 | 0.04 | 0.11 | 0.28 | 0.15 | 0.06 | 0.14 | 0.33 | 0.1 | 0.29 | 0.23 | 0.1575 | 0.33 | all fibers ≧ 55dB
33013064100147 | 6060-ZN01740-0052 | 0.13 | 0.14 | 0.12 | 0.1 | 0.13 | 0.16 | 0.18 | 0.36 | 0.25 | 0.47 | 0.24 | 0.28 | 0.21333 | 0.47 | all fibers ≧ 55dB
33013064100138 | 6060-ZN01740-0054 | 0.06 | 0.04 | 0.03 | 0.03 | 0.13 | 0.02 | 0.06 | 0.08 | 0.04 | 0.05 | 0.03 | 0.13 | 0.058333 | 0.13 | all fibers ≧ 55dB
33013064100176 | 6060-ZN01740-0056 | 0.08 | 0.03 | 0.06 | 0.05 | 0.08 | 0.08 | 0.22 | 0.1 | 0.01 | 0.03 | 0.02 | 0.04 | 0.066667 | 0.22 | all fibers ≧ 55dB
33013064100198 | 6060-ZN01740-0058 | 0.05 | 0.09 | 0.1 | 0.16 | 0.13 | 0.16 | 0.18 | 0.24 | 0.02 | 0.11 | 0.08 | 0.06 | 0.115 | 0.24 | all fibers ≧ 55dB
33013064100133 | 6060-ZN01740-0060 | 0.17 | 0.13 | 0.23 | 0.3 | 0.07 | 0.22 | 0.3 | 0.24 | 0.11 | 0.08 | 0.22 | 0.26 | 0.19417 | 0.3 | all fibers ≧ 55dB
33013064100179 | 6060-ZN01740-0062 | 0.03 | 0.06 | 0.06 | 0.12 | 0.09 | 0.05 | 0.1 | 0.06 | 0.11 | 0.21 | 0.445 | 0.26 | 0.13292 | 0.445 | all fibers ≧ 55dB
33013064100181 | 6060-ZN01740-0064 | 0.04 | 0.05 | 0.06 | 0.06 | 0.15 | 0.03 | 0.1 | 0.06 | 0.15 | 0.32 | 0.35 | 0.28 | 0.1375 | 0.35 | all fibers ≧ 55dB
33013064100144 | 6060-ZN01740-0066 | 0.11 | 0.05 | 0.08 | 0.11 | 0.13 | 0.09 | 0.1 | 0.08 | 0.01 | 0.02 | 0.03 | 0.04 | 0.070833 | 0.13 | all fibers ≧ 55dB
33013064100145 | 6060-ZN01740-0068 | 0.09 | 0.06 | 0.11 | 0.07 | 0.06 | 0.09 | 0.11 | 0.09 | 0.02 | 0.05 | 0.22 | 0.31 | 0.10667 | 0.31 | all fibers ≧ 55dB
33013064100822 | 6060-ZN01740-0070 | 0.1 | 0.1 | 0.09 | 0.06 | 0.2 | 0.08 | 0.03 | 0.06 | 0.27 | 0.15 | 0.37 | 0.15 | 0.13833 | 0.37 | all fibers ≧ 55dB
33013064100889 | 6060-ZN01740-0072 | 0.09 | 0.03 | 0.07 | 0.18 | 0.06 | 0.18 | 0.19 | 0.16 | 0.05 | 0.13 | 0.11 | 0.12 | 0.11417 | 0.19 | all fibers ≧ 55dB
33013064100140 | 6060-ZN01740-0074 | 0.04 | 0.04 | 0.07 | 0.05 | 0.06 | 0.06 | 0.08 | 0.08 | 0.08 | 0.09 | 0.09 | 0.17 | 0.075833 | 0.17 | all fibers ≧ 55dB
33013064100135 | 6060-ZN01740-0076 | 0.05 | 0.06 | 0.04 | 0.08 | 0.03 | 0.05 | 0.05 | 0.04 | 0.06 | 0.04 | 0.04 | 0.05 | 0.049167 | 0.08 | all fibers ≧ 55dB
33013064100127 | 6060-ZN01740-0078 | 0.01 | 0.06 | 0.01 | 0.02 | 0.1 | 0.04 | 0.05 | 0.07 | 0.13 | 0.1 | 0.09 | 0.23 | 0.075833 | 0.23 | all fibers ≧ 55dB