## cover
INSPECTION CERTIFICATE
(Testing of Manufacturing section)
Messrs. CERN | [5 empty] | Report No. | TK04-6990
[6 empty] | Date. | Jan. 28, 2005
Description: |  | C3YY12-PA1PB1Z001-19.0M0000
MFG No.: | 90-498-6062
Quantity : | 38 |  | pcs.
Manager
H. AKIMOTO
Quality Assurance Section
Lightwave Network Products Division
SUMITOMO ELECTRIC INDUSTRIES,LTD.
1,TAYA-CHO,SAKAE-KU,YOKOHAMA,244-8588 JAPAN

## TestData PA
MFG No. : | 90-498-6062 |  |  |  | Test data( Testing of Manufacturing section)
Connector: | MPO.M
Fiber lot No.: | ZN01740
[14 empty] | Spec. | Insertion loss | 0.75
| Optical data(Power source: | 1310 | nm) | [11 empty] | Return loss | ≧55dB
QR | SEI | Insertion loss (dB) | [13 empty] | Return loss (dB)
Cord No. | Serial No. | 1ch | 2ch | 3ch | 4ch | 5ch | 6ch | 7ch | 8ch | 9ch | 10ch | 11ch | 12ch | AVE | MAX
33013064200246 | 6062-ZN01740-0001 | 0.08 | 0.07 | 0.11 | 0.16 | 0.03 | 0.09 | 0.32 | 0.35 | 0.07 | 0.06 | 0.04 | 0.09 | 0.1225 | 0.35 | all fibers ≧ 55dB
33013064200222 | 6062-ZN01740-0003 | 0.15 | 0.09 | 0.16 | 0.2 | 0.05 | 0.11 | 0.29 | 0.36 | 0.05 | 0.07 | 0.07 | 0.08 | 0.14 | 0.36 | all fibers ≧ 55dB
33013064200182 | 6062-ZN01740-0005 | 0.05 | 0.07 | 0.15 | 0.17 | 0.03 | 0.09 | 0.23 | 0.3 | 0.06 | 0.05 | 0.02 | 0.06 | 0.10667 | 0.3 | all fibers ≧ 55dB
33013064200203 | 6062-ZN01740-0007 | 0.05 | 0.03 | 0.06 | 0.08 | 0.03 | 0.11 | 0.13 | 0.25 | 0.07 | 0.03 | 0.02 | 0.05 | 0.075833 | 0.25 | all fibers ≧ 55dB
33013064200270 | 6062-ZN01740-0009 | 0.08 | 0.04 | 0.18 | 0.27 | 0.06 | 0.15 | 0.42 | 0.33 | 0.08 | 0.08 | 0.05 | 0.09 | 0.1525 | 0.42 | all fibers ≧ 55dB
33013064200239 | 6062-ZN01740-0011 | 0.08 | 0.09 | 0.21 | 0.22 | 0.05 | 0.18 | 0.18 | 0.29 | 0.09 | 0.09 | 0.02 | 0.03 | 0.1275 | 0.29 | all fibers ≧ 55dB
33013064200208 | 6062-ZN01740-0013 | 0.15 | 0.16 | 0.23 | 0.2 | 0.25 | 0.45 | 0.24 | 0.35 | 0.3 | 0.37 | 0.22 | 0.32 | 0.27 | 0.45 | all fibers ≧ 55dB
33013064200296 | 6062-ZN01740-0001 | 0.08 | 0.09 | 0.15 | 0.19 | 0.04 | 0.13 | 0.29 | 0.26 | 0.09 | 0.08 | 0.03 | 0.05 | 0.12333 | 0.29 | all fibers ≧ 55dB
33013064200251 | 6062-ZN01740-0017 | 0.18 | 0.15 | 0.21 | 0.32 | 0.05 | 0.21 | 0.32 | 0.39 | 0.07 | 0.08 | 0.07 | 0.12 | 0.18083 | 0.39 | all fibers ≧ 55dB
33013064200213 | 6062-ZN01740-0019 | 0.08 | 0.08 | 0.1 | 0.16 | 0.02 | 0.08 | 0.29 | 0.32 | 0.06 | 0.05 | 0.04 | 0.09 | 0.11417 | 0.32 | all fibers ≧ 55dB
33013064200205 | 6062-ZN01740-0021 | 0.06 | 0.05 | 0.14 | 0.15 | 0.01 | 0.12 | 0.2 | 0.27 | 0.07 | 0.01 | 0.01 | 0.1 | 0.099167 | 0.27 | all fibers ≧ 55dB
33013064200235 | 6062-ZN01740-0023 | 0.06 | 0.04 | 0.06 | 0.1 | 0.14 | 0.12 | 0.13 | 0.21 | 0.16 | 0.14 | 0.13 | 0.36 | 0.1375 | 0.36 | all fibers ≧ 55dB
33013064200278 | 6062-ZN01740-0025 | 0.03 | 0.05 | 0.04 | 0.09 | 0.02 | 0.06 | 0.23 | 0.29 | 0.04 | 0.06 | 0.01 | 0.01 | 0.0775 | 0.29 | all fibers ≧ 55dB
33013064200248 | 6062-ZN01740-0027 | 0.18 | 0.03 | 0.19 | 0.13 | 0.05 | 0.18 | 0.26 | 0.29 | 0.09 | 0.09 | 0.26 | 0.04 | 0.14917 | 0.29 | all fibers ≧ 55dB
33013064200207 | 6062-ZN01740-0029 | 0.12 | 0.09 | 0.16 | 0.18 | 0.01 | 0.13 | 0.21 | 0.31 | 0.04 | 0.09 | 0.07 | 0.1 | 0.12583 | 0.31 | all fibers ≧ 55dB
33013064200259 | 6062-ZN01740-0031 | 0.13 | 0.07 | 0.2 | 0.35 | 0.04 | 0.21 | 0.435 | 0.39 | 0.11 | 0.09 | 0.03 | 0.04 | 0.17458 | 0.435 | all fibers ≧ 55dB
33013064200211 | 6062-ZN01740-0033 | 0.16 | 0.13 | 0.18 | 0.27 | 0.06 | 0.18 | 0.16 | 0.34 | 0.09 | 0.11 | 0.07 | 0.09 | 0.15333 | 0.34 | all fibers ≧ 55dB
33013064200220 | 6062-ZN01740-0035 | 0.13 | 0.11 | 0.17 | 0.23 | 0.04 | 0.1 | 0.15 | 0.3 | 0.09 | 0.08 | 0.11 | 0.28 | 0.14917 | 0.3 | all fibers ≧ 55dB
33013064200180 | 6062-ZN01740-0037 | 0.14 | 0.13 | 0.11 | 0.13 | 0.07 | 0.12 | 0.34 | 0.33 | 0.11 | 0.15 | 0.1 | 0.08 | 0.15083 | 0.34 | all fibers ≧ 55dB
33013064200206 | 6062-ZN01740-0039 | 0.13 | 0.02 | 0.09 | 0.17 | 0.06 | 0.19 | 0.32 | 0.39 | 0.18 | 0.14 | 0.07 | 0.06 | 0.15167 | 0.39 | all fibers ≧ 55dB
33013064200209 | 6062-ZN01740-0041 | 0.13 | 0.11 | 0.2 | 0.26 | 0.1 | 0.19 | 0.26 | 0.34 | 0.09 | 0.08 | 0.02 | 0.1 | 0.15667 | 0.34 | all fibers ≧ 55dB
33013064200267 | 6062-ZN01740-0043 | 0.2 | 0.16 | 0.29 | 0.23 | 0.06 | 0.23 | 0.44 | 0.42 | 0.11 | 0.08 | 0.11 | 0.11 | 0.20333 | 0.44 | all fibers ≧ 55dB
33013064200291 | 6062-ZN01740-0045 | 0.14 | 0.09 | 0.13 | 0.25 | 0.07 | 0.16 | 0.24 | 0.34 | 0.11 | 0.1 | 0.04 | 0.02 | 0.14083 | 0.34 | all fibers ≧ 55dB
33013064200289 | 6062-ZN01740-0047 | 0.13 | 0.04 | 0.13 | 0.13 | 0.04 | 0.09 | 0.22 | 0.27 | 0.05 | 0.05 | 0.01 | 0.03 | 0.099167 | 0.27 | all fibers ≧ 55dB
33013064200223 | 6062-ZN01740-0049 | 0.08 | 0.07 | 0.15 | 0.14 | 0.08 | 0.1 | 0.31 | 0.35 | 0.06 | 0.06 | 0.01 | 0.08 | 0.12417 | 0.35 | all fibers ≧ 55dB
33013064200261 | 6062-ZN01740-0051 | 0.13 | 0.12 | 0.13 | 0.27 | 0.03 | 0.16 | 0.33 | 0.33 | 0.14 | 0.15 | 0.04 | 0.06 | 0.1575 | 0.33 | all fibers ≧ 55dB
33013064200298 | 6062-ZN01740-0053 | 0.13 | 0.09 | 0.25 | 0.19 | 0.06 | 0.19 | 0.36 | 0.35 | 0.11 | 0.07 | 0.04 | 0.06 | 0.15833 | 0.36 | all fibers ≧ 55dB
33013064200148 | 6062-ZN01740-0055 | 0.12 | 0.08 | 0.08 | 0.22 | 0.07 | 0.11 | 0.17 | 0.27 | 0.09 | 0.12 | 0.14 | 0.435 | 0.15875 | 0.435 | all fibers ≧ 55dB
33013064200212 | 6062-ZN01740-0057 | 0.13 | 0.1 | 0.26 | 0.34 | 0.09 | 0.19 | 0.27 | 0.415 | 0.18 | 0.17 | 0.11 | 0.13 | 0.19875 | 0.415 | all fibers ≧ 55dB
33013064200285 | 6062-ZN01740-0059 | 0.2 | 0.15 | 0.29 | 0.22 | 0.08 | 0.29 | 0.3 | 0.46 | 0.12 | 0.14 | 0.05 | 0.12 | 0.20167 | 0.46 | all fibers ≧ 55dB
33013064200295 | 6062-ZN01740-0061 | 0.05 | 0.04 | 0.07 | 0.03 | 0.03 | 0.02 | 0.13 | 0.1 | 0.06 | 0.01 | 0.04 | 0.04 | 0.051667 | 0.13 | all fibers ≧ 55dB
33013064200280 | 6062-ZN01740-0063 | 0.08 | 0.1 | 0.25 | 0.15 | 0.07 | 0.16 | 0.3 | 0.37 | 0.14 | 0.12 | 0.04 | 0.01 | 0.14917 | 0.37 | all fibers ≧ 55dB
33013064200253 | 6062-ZN01740-0065 | 0.11 | 0.09 | 0.13 | 0.17 | 0.1 | 0.2 | 0.37 | 0.36 | 0.11 | 0.12 | 0.07 | 0.05 | 0.15667 | 0.37 | all fibers ≧ 55dB
33013064200263 | 6062-ZN01740-0067 | 0.05 | 0.05 | 0.09 | 0.17 | 0.11 | 0.17 | 0.27 | 0.31 | 0.06 | 0.08 | 0.01 | 0.09 | 0.12167 | 0.31 | all fibers ≧ 55dB
33013064200218 | 6062-ZN01740-0069 | 0.05 | 0.06 | 0.09 | 0.11 | 0.18 | 0.24 | 0.27 | 0.29 | 0.08 | 0.07 | 0.05 | 0.04 | 0.1275 | 0.29 | all fibers ≧ 55dB
33013064200273 | 6062-ZN01740-0071 | 0.2 | 0.16 | 0.25 | 0.27 | 0.25 | 0.23 | 0.31 | 0.37 | 0.38 | 0.28 | 0.25 | 0.36 | 0.27583 | 0.38 | all fibers ≧ 55dB
33013064200214 | 6062-ZN01740-0073 | 0.35 | 0.25 | 0.35 | 0.45 | 0.21 | 0.44 | 0.48 | 0.49 | 0.23 | 0.27 | 0.17 | 0.11 | 0.31667 | 0.49 | all fibers ≧ 55dB
33013064200219 | 6062-ZN01740-0075 | 0.24 | 0.12 | 0.17 | 0.16 | 0.22 | 0.28 | 0.42 | 0.4 | 0.32 | 0.33 | 0.29 | 0.25 | 0.26667 | 0.42 | all fibers ≧ 55dB

## TestData PB
MFG No. : | 90-498-6062 |  |  |  | Test data( Testing of Manufacturing section)
Connector: | MPO.F
Fiber lot No.: | ZN01740
[14 empty] | Spec. | Insertion loss | 0.75
| Optical data(Power source: | 1310 | nm) | [11 empty] | Return loss | ≧55dB
QR | SEI | Insertion loss (dB) | [13 empty] | Return loss (dB)
Cord No. | Serial No. | 1ch | 2ch | 3ch | 4ch | 5ch | 6ch | 7ch | 8ch | 9ch | 10ch | 11ch | 12ch | AVE | MAX
33013064100329 | 6062-ZN01740-0002 | 0.06 | 0.08 | 0.09 | 0.11 | 0.04 | 0.08 | 0.19 | 0.11 | 0.12 | 0.11 | 0.06 | 0.39 | 0.12 | 0.39 | all fibers ≧ 55dB
33013064100391 | 6062-ZN01740-0004 | 0.04 | 0.06 | 0.04 | 0.14 | 0.03 | 0.1 | 0.12 | 0.13 | 0.01 | 0.02 | 0.03 | 0.07 | 0.065833 | 0.14 | all fibers ≧ 55dB
33013064100376 | 6062-ZN01740-0006 | 0.06 | 0.05 | 0.08 | 0.07 | 0.04 | 0.1 | 0.15 | 0.07 | 0.08 | 0.33 | 0.24 | 0.36 | 0.13583 | 0.36 | all fibers ≧ 55dB
33013064100342 | 6062-ZN01740-0008 | 0.06 | 0.07 | 0.04 | 0.17 | 0.08 | 0.08 | 0.21 | 0.09 | 0.17 | 0.12 | 0.09 | 0.24 | 0.11833 | 0.24 | all fibers ≧ 55dB
33013064100394 | 6062-ZN01740-0010 | 0.07 | 0.06 | 0.01 | 0.01 | 0.11 | 0.03 | 0.09 | 0.03 | 0.16 | 0.08 | 0.14 | 0.24 | 0.085833 | 0.24 | all fibers ≧ 55dB
33013064100353 | 6062-ZN01740-0012 | 0.05 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.08 | 0.06 | 0.03 | 0.08 | 0.07 | 0.07 | 0.05 | 0.08 | all fibers ≧ 55dB
33013064100340 | 6062-ZN01740-0014 | 0.09 | 0.04 | 0.03 | 0.09 | 0.08 | 0.04 | 0.13 | 0.11 | 0.09 | 0.09 | 0.12 | 0.24 | 0.095833 | 0.24 | all fibers ≧ 55dB
33013064100311 | 6062-ZN01740-0016 | 0.05 | 0.03 | 0.02 | 0.13 | 0.04 | 0.06 | 0.15 | 0.11 | 0.01 | 0.03 | 0.02 | 0.06 | 0.059167 | 0.15 | all fibers ≧ 55dB
33013064100389 | 6062-ZN01740-0018 | 0.05 | 0.03 | 0.01 | 0.08 | 0.04 | 0.05 | 0.16 | 0.06 | 0.09 | 0.07 | 0.06 | 0.15 | 0.070833 | 0.16 | all fibers ≧ 55dB
33013064100360 | 6062-ZN01740-0020 | 0.08 | 0.04 | 0.05 | 0.09 | 0.1 | 0.09 | 0.11 | 0.08 | 0.13 | 0.12 | 0.1 | 0.34 | 0.11083 | 0.34 | all fibers ≧ 55dB
33013064100335 | 6062-ZN01740-0022 | 0.08 | 0.04 | 0.03 | 0.07 | 0.07 | 0.03 | 0.09 | 0.06 | 0.04 | 0.03 | 0.04 | 0.17 | 0.0625 | 0.17 | all fibers ≧ 55dB
33013064100346 | 6062-ZN01740-0024 | 0.02 | 0.09 | 0.01 | 0.09 | 0.07 | 0.03 | 0.11 | 0.12 | 0.03 | 0.1 | 0.04 | 0.15 | 0.071667 | 0.15 | all fibers ≧ 55dB
33013064100130 | 6062-ZN01740-0026 | 0.04 | 0.05 | 0.02 | 0.07 | 0.08 | 0.02 | 0.07 | 0.07 | 0.02 | 0.07 | 0.01 | 0.17 | 0.0575 | 0.17 | all fibers ≧ 55dB
33013064100310 | 6062-ZN01740-0028 | 0.08 | 0.04 | 0.01 | 0.02 | 0.09 | 0.02 | 0.06 | 0.07 | 0.06 | 0.07 | 0.01 | 0.26 | 0.065833 | 0.26 | all fibers ≧ 55dB
33013064100301 | 6062-ZN01740-0030 | 0.03 | 0.06 | 0.01 | 0.07 | 0.04 | 0.04 | 0.1 | 0.04 | 0.03 | 0.06 | 0.04 | 0.16 | 0.056667 | 0.16 | all fibers ≧ 55dB
33013064100315 | 6062-ZN01740-0032 | 0.01 | 0.04 | 0.02 | 0.03 | 0.04 | 0.03 | 0.14 | 0.07 | 0.08 | 0.11 | 0.09 | 0.12 | 0.065 | 0.14 | all fibers ≧ 55dB
33013064100318 | 6062-ZN01740-0034 | 0.01 | 0.05 | 0.03 | 0.09 | 0.02 | 0.08 | 0.08 | 0.08 | 0.02 | 0.06 | 0.03 | 0.05 | 0.05 | 0.09 | all fibers ≧ 55dB
33013064100305 | 6062-ZN01740-0036 | 0.07 | 0.06 | 0.02 | 0.17 | 0.05 | 0.08 | 0.07 | 0.07 | 0.01 | 0.04 | 0.01 | 0.1 | 0.0625 | 0.17 | all fibers ≧ 55dB
33013064100321 | 6062-ZN01740-0038 | 0.02 | 0.04 | 0.07 | 0.12 | 0.04 | 0.05 | 0.12 | 0.09 | 0.04 | 0.06 | 0.01 | 0.12 | 0.065 | 0.12 | all fibers ≧ 55dB
33013064100356 | 6062-ZN01740-0040 | 0.05 | 0.1 | 0.01 | 0.04 | 0.02 | 0.03 | 0.05 | 0.04 | 0.07 | 0.13 | 0.07 | 0.28 | 0.074167 | 0.28 | all fibers ≧ 55dB
33013064100330 | 6062-ZN01740-0042 | 0.01 | 0.03 | 0.03 | 0.05 | 0.09 | 0.04 | 0.09 | 0.07 | 0.03 | 0.05 | 0.01 | 0.18 | 0.056667 | 0.18 | all fibers ≧ 55dB
33013064100308 | 6062-ZN01740-0044 | 0.01 | 0.09 | 0.03 | 0.07 | 0.06 | 0.06 | 0.07 | 0.1 | 0.18 | 0.21 | 0.22 | 0.37 | 0.1225 | 0.37 | all fibers ≧ 55dB
33013064100322 | 6062-ZN01740-0046 | 0.07 | 0.07 | 0.01 | 0.01 | 0.04 | 0.02 | 0.03 | 0.05 | 0.03 | 0.01 | 0.02 | 0.21 | 0.0475 | 0.21 | all fibers ≧ 55dB
33013064100338 | 6062-ZN01740-0048 | 0.04 | 0.02 | 0.01 | 0.04 | 0.05 | 0.01 | 0.09 | 0.07 | 0.03 | 0.05 | 0.02 | 0.15 | 0.048333 | 0.15 | all fibers ≧ 55dB
33013064100327 | 6062-ZN01740-0050 | 0.04 | 0.08 | 0.01 | 0.02 | 0.02 | 0.01 | 0.05 | 0.04 | 0.01 | 0.02 | 0.03 | 0.16 | 0.040833 | 0.16 | all fibers ≧ 55dB
33013064100354 | 6062-ZN01740-0052 | 0.08 | 0.1 | 0.01 | 0.01 | 0.03 | 0.04 | 0.04 | 0.05 | 0.01 | 0.01 | 0.06 | 0.2 | 0.053333 | 0.2 | all fibers ≧ 55dB
33013064100390 | 6062-ZN01740-0054 | 0.01 | 0.06 | 0.01 | 0.02 | 0.02 | 0.04 | 0.1 | 0.06 | 0.01 | 0.01 | 0.01 | 0.11 | 0.038333 | 0.11 | all fibers ≧ 55dB
33013064100343 | 6062-ZN01740-0056 | 0.03 | 0.09 | 0.06 | 0.05 | 0.07 | 0.06 | 0.39 | 0.11 | 0.46 | 0.445 | 0.08 | 0.35 | 0.18292 | 0.46 | all fibers ≧ 55dB
33013064100393 | 6062-ZN01740-0058 | 0.06 | 0.05 | 0.01 | 0.12 | 0.08 | 0.09 | 0.17 | 0.14 | 0.03 | 0.07 | 0.02 | 0.12 | 0.08 | 0.17 | all fibers ≧ 55dB
33013064100312 | 6062-ZN01740-0060 | 0.01 | 0.05 | 0.04 | 0.03 | 0.01 | 0.06 | 0.11 | 0.1 | 0.08 | 0.05 | 0.05 | 0.1 | 0.0575 | 0.11 | all fibers ≧ 55dB
33013064100379 | 6062-ZN01740-0062 | 0.07 | 0.07 | 0.01 | 0.08 | 0.01 | 0.04 | 0.17 | 0.04 | 0.05 | 0.05 | 0.04 | 0.19 | 0.068333 | 0.19 | all fibers ≧ 55dB
33013064100400 | 6062-ZN01740-0064 | 0.02 | 0.05 | 0.01 | 0.13 | 0.05 | 0.07 | 0.16 | 0.09 | 0.06 | 0.09 | 0.06 | 0.18 | 0.080833 | 0.18 | all fibers ≧ 55dB
33013064100333 | 6062-ZN01740-0066 | 0.06 | 0.11 | 0.06 | 0.03 | 0.01 | 0.07 | 0.15 | 0.08 | 0.13 | 0.27 | 0.28 | 0.38 | 0.13583 | 0.38 | all fibers ≧ 55dB
33013064100366 | 6062-ZN01740-0068 | 0.09 | 0.08 | 0.04 | 0.01 | 0.06 | 0.07 | 0.22 | 0.06 | 0.09 | 0.1 | 0.14 | 0.22 | 0.098333 | 0.22 | all fibers ≧ 55dB
33013064100375 | 6062-ZN01740-0070 | 0.04 | 0.06 | 0.03 | 0.07 | 0.07 | 0.06 | 0.2 | 0.08 | 0.05 | 0.38 | 0.03 | 0.39 | 0.12167 | 0.39 | all fibers ≧ 55dB
33013064100397 | 6062-ZN01740-0072 | 0.08 | 0.06 | 0.04 | 0.07 | 0.07 | 0.06 | 0.14 | 0.09 | 0.11 | 0.37 | 0.14 | 0.22 | 0.12083 | 0.37 | all fibers ≧ 55dB
33013064100306 | 6062-ZN01740-0074 | 0.09 | 0.08 | 0.15 | 0.15 | 0.04 | 0.15 | 0.23 | 0.22 | 0.02 | 0.5 | 0.01 | 0.11 | 0.14583 | 0.5 | all fibers ≧ 55dB
33013064100350 | 6062-ZN01740-0076 | 0.12 | 0.09 | 0.1 | 0.12 | 0.01 | 0.04 | 0.27 | 0.13 | 0.02 | 0.04 | 0.14 | 0.19 | 0.10583 | 0.27 | all fibers ≧ 55dB