## cover
INSPECTION CERTIFICATE
(Testing of Manufacturing section)
Messrs. CERN | [5 empty] | Report No. | TK04-7035
[6 empty] | Date. | Jan. 31, 2005
Description: |  | C3YY12-PA1PB1Z001-40.0M0000
MFG No.: | 90-498-6081
Quantity : | 31 |  | pcs.
Manager
H. AKIMOTO
Quality Assurance Section
Lightwave Network Products Division
SUMITOMO ELECTRIC INDUSTRIES,LTD.
1,TAYA-CHO,SAKAE-KU,YOKOHAMA,244-8588 JAPAN

## TestData PA
MFG No. : | 90-498-6081 |  |  |  | Test data( Testing of Manufacturing section)
Connector: | MPO.M
Fiber lot No.: | ZN01700
[14 empty] | Spec. | Insertion loss | 0.75
| Optical data(Power source: | 1310 | nm) | [11 empty] | Return loss | ≧55dB
QR | SEI | Insertion loss (dB) | [13 empty] | Return loss (dB)
Cord No. | Serial No. | 1ch | 2ch | 3ch | 4ch | 5ch | 6ch | 7ch | 8ch | 9ch | 10ch | 11ch | 12ch | AVE | MAX
33013064200301 | 6081-ZN01700-0001 | 0.38 | 0.23 | 0.28 | 0.17 | 0.03 | 0.12 | 0.28 | 0.22 | 0.06 | 0.03 | 0.13 | 0.19 | 0.17667 | 0.38 | all fibers ≧ 55dB
33013064200368 | 6081-ZN01700-0003 | 0.12 | 0.26 | 0.22 | 0.2 | 0.13 | 0.24 | 0.22 | 0.11 | 0.03 | 0.01 | 0.01 | 0.1 | 0.1375 | 0.26 | all fibers ≧ 55dB
33013064200314 | 6081-ZN01700-0005 | 0.25 | 0.32 | 0.13 | 0.21 | 0.3 | 0.29 | 0.26 | 0.33 | 0.13 | 0.14 | 0.15 | 0.08 | 0.21583 | 0.33 | all fibers ≧ 55dB
33013064200340 | 6081-ZN01700-0007 | 0.14 | 0.24 | 0.19 | 0.16 | 0.14 | 0.27 | 0.31 | 0.16 | 0.08 | 0.06 | 0.01 | 0.06 | 0.15167 | 0.31 | all fibers ≧ 55dB
33013064200386 | 6081-ZN01700-0009 | 0.29 | 0.36 | 0.36 | 0.04 | 0.29 | 0.14 | 0.18 | 0.34 | 0.16 | 0.19 | 0.13 | 0.14 | 0.21833 | 0.36 | all fibers ≧ 55dB
33013064200380 | 6081-ZN01700-0011 | 0.06 | 0.18 | 0.37 | 0.13 | 0.24 | 0.475 | 0.2 | 0.3 | 0.15 | 0.18 | 0.08 | 0.07 | 0.20292 | 0.475 | all fibers ≧ 55dB
33013064200395 | 6081-ZN01700-0013 | 0.37 | 0.27 | 0.29 | 0.24 | 0.27 | 0.33 | 0.35 | 0.25 | 0.13 | 0.18 | 0.18 | 0.495 | 0.27958 | 0.495 | all fibers ≧ 55dB
33013064200318 | 6081-ZN01700-0015 | 0.08 | 0.08 | 0.18 | 0.16 | 0.06 | 0.16 | 0.25 | 0.33 | 0.07 | 0.09 | 0.05 | 0.08 | 0.1325 | 0.33 | all fibers ≧ 55dB
33013064200342 | 6081-ZN01700-0017 | 0.01 | 0.1 | 0.14 | 0.13 | 0.01 | 0.1 | 0.16 | 0.22 | 0.05 | 0.08 | 0.05 | 0.17 | 0.10167 | 0.22 | all fibers ≧ 55dB
33013064200383 | 6081-ZN01700-0019 | 0.06 | 0.09 | 0.14 | 0.28 | 0.07 | 0.21 | 0.34 | 0.3 | 0.16 | 0.17 | 0.13 | 0.12 | 0.1725 | 0.34 | all fibers ≧ 55dB
33013064200331 | 6081-ZN01700-0021 | 0.04 | 0.03 | 0.05 | 0.06 | 0.01 | 0.02 | 0.07 | 0.21 | 0.06 | 0.08 | 0.04 | 0.12 | 0.065833 | 0.21 | all fibers ≧ 55dB
33013064200352 | 6081-ZN01700-0023 | 0.26 | 0.27 | 0.31 | 0.3 | 0.32 | 0.415 | 0.4 | 0.27 | 0.45 | 0.435 | 0.405 | 0.17 | 0.33375 | 0.45 | all fibers ≧ 55dB
33013064200373 | 6081-ZN01700-0025 | 0.23 | 0.25 | 0.06 | 0.21 | 0.01 | 0.09 | 0.26 | 0.21 | 0.08 | 0.09 | 0.1 | 0.1 | 0.14083 | 0.26 | all fibers ≧ 55dB
33013064200379 | 6081-ZN01700-0027 | 0.13 | 0.13 | 0.01 | 0.18 | 0.03 | 0.12 | 0.18 | 0.17 | 0.03 | 0.16 | 0.04 | 0.14 | 0.11 | 0.18 | all fibers ≧ 55dB
33013064200333 | 6081-ZN01700-0029 | 0.15 | 0.16 | 0.25 | 0.33 | 0.02 | 0.15 | 0.2 | 0.32 | 0.05 | 0.17 | 0.05 | 0.07 | 0.16 | 0.33 | all fibers ≧ 55dB
33013064200305 | 6081-ZN01700-0031 | 0.08 | 0.33 | 0.01 | 0.18 | 0.14 | 0.19 | 0.27 | 0.24 | 0.13 | 0.23 | 0.07 | 0.13 | 0.16667 | 0.33 | all fibers ≧ 55dB
33013064200351 | 6081-ZN01700-0033 | 0.29 | 0.22 | 0.01 | 0.15 | 0.16 | 0.24 | 0.37 | 0.18 | 0.17 | 0.15 | 0.36 | 0.1 | 0.2 | 0.37 | all fibers ≧ 55dB
33013064200322 | 6081-ZN01700-0035 | 0.39 | 0.37 | 0.01 | 0.08 | 0.04 | 0.03 | 0.1 | 0.1 | 0.07 | 0.17 | 0.17 | 0.5 | 0.16917 | 0.5 | all fibers ≧ 55dB
33013064200399 | 6081-ZN01700-0037 | 0.15 | 0.39 | 0.37 | 0.405 | 0.28 | 0.29 | 0.04 | 0.13 | 0.11 | 0.04 | 0.04 | 0.12 | 0.19708 | 0.405 | all fibers ≧ 55dB
33013064200328 | 6081-ZN01700-0039 | 0.21 | 0.21 | 0.08 | 0.4 | 0.07 | 0.18 | 0.37 | 0.31 | 0.13 | 0.12 | 0.14 | 0.34 | 0.21333 | 0.4 | all fibers ≧ 55dB
33013064200327 | 6081-ZN01700-0041 | 0.27 | 0.31 | 0.06 | 0.24 | 0.32 | 0.22 | 0.09 | 0.25 | 0.25 | 0.29 | 0.24 | 0.22 | 0.23 | 0.32 | all fibers ≧ 55dB
33013064200397 | 6081-ZN01700-0043 | 0.01 | 0.05 | 0.04 | 0.04 | 0.05 | 0.04 | 0.27 | 0.15 | 0.06 | 0.14 | 0.08 | 0.09 | 0.085 | 0.27 | all fibers ≧ 55dB
33013064200361 | 6081-ZN01700-0045 | 0.15 | 0.18 | 0.11 | 0.19 | 0.24 | 0.35 | 0.36 | 0.36 | 0.36 | 0.34 | 0.37 | 0.42 | 0.28583 | 0.42 | all fibers ≧ 55dB
33013064200343 | 6081-ZN01700-0047 | 0.23 | 0.24 | 0.16 | 0.18 | 0.06 | 0.15 | 0.46 | 0.3 | 0.13 | 0.22 | 0.12 | 0.24 | 0.2075 | 0.46 | all fibers ≧ 55dB
33013064200339 | 6081-ZN01700-0049 | 0.25 | 0.25 | 0.14 | 0.15 | 0.01 | 0.09 | 0.34 | 0.28 | 0.1 | 0.11 | 0.09 | 0.12 | 0.16083 | 0.34 | all fibers ≧ 55dB
33013064200354 | 6081-ZN01700-0051 | 0.04 | 0.04 | 0.08 | 0.05 | 0.04 | 0.12 | 0.31 | 0.15 | 0.09 | 0.16 | 0.1 | 0.01 | 0.099167 | 0.31 | all fibers ≧ 55dB
33013064200326 | 6081-ZN01700-0053 | 0.02 | 0.03 | 0.03 | 0.11 | 0.11 | 0.08 | 0.12 | 0.12 | 0.09 | 0.12 | 0.11 | 0.37 | 0.10917 | 0.37 | all fibers ≧ 55dB
33013064200393 | 6081-ZN01700-0055 | 0.09 | 0.1 | 0.12 | 0.15 | 0.04 | 0.11 | 0.49 | 0.49 | 0.17 | 0.22 | 0.19 | 0.38 | 0.2125 | 0.49 | all fibers ≧ 55dB
33013064200389 | 6081-ZN01700-0057 | 0.28 | 0.18 | 0.14 | 0.15 | 0.1 | 0.14 | 0.475 | 0.42 | 0.35 | 0.48 | 0.29 | 0.44 | 0.28708 | 0.48 | all fibers ≧ 55dB
33013064200319 | 6081-ZN01700-0059 | 0.08 | 0.12 | 0.17 | 0.11 | 0.08 | 0.27 | 0.39 | 0.455 | 0.14 | 0.25 | 0.1 | 0.1 | 0.18875 | 0.455 | all fibers ≧ 55dB
33013064200330 | 6081-ZN01700-0061 | 0.17 | 0.27 | 0.31 | 0.25 | 0.06 | 0.15 | 0.47 | 0.495 | 0.15 | 0.31 | 0.22 | 0.43 | 0.27375 | 0.495 | all fibers ≧ 55dB

## TestData PB
MFG No. : | 90-498-6081 |  |  |  | Test data( Testing of Manufacturing section)
Connector: | MPO.F
Fiber lot No.: | ZN01700
[14 empty] | Spec. | Insertion loss | 0.75
| Optical data(Power source: | 1310 | nm) | [11 empty] | Return loss | ≧55dB
QR | SEI | Insertion loss (dB) | [13 empty] | Return loss (dB)
Cord No. | Serial No. | 1ch | 2ch | 3ch | 4ch | 5ch | 6ch | 7ch | 8ch | 9ch | 10ch | 11ch | 12ch | AVE | MAX
33013064100409 | 6081-ZN01700-0002 | 0.26 | 0.17 | 0.03 | 0.07 | 0.08 | 0.04 | 0.12 | 0.2 | 0.12 | 0.13 | 0.29 | 0.28 | 0.14917 | 0.29 | all fibers ≧ 55dB
33013064100466 | 6081-ZN01700-0004 | 0.14 | 0.13 | 0.02 | 0.06 | 0.15 | 0.08 | 0.26 | 0.36 | 0.14 | 0.23 | 0.07 | 0.3 | 0.16167 | 0.36 | all fibers ≧ 55dB
33013064100434 | 6081-ZN01700-0006 | 0.14 | 0.1 | 0.01 | 0.06 | 0.1 | 0.03 | 0.06 | 0.1 | 0.2 | 0.15 | 0.15 | 0.39 | 0.12417 | 0.39 | all fibers ≧ 55dB
33013064100438 | 6081-ZN01700-0008 | 0.12 | 0.15 | 0.08 | 0.09 | 0.07 | 0.13 | 0.16 | 0.02 | 0.08 | 0.05 | 0.07 | 0.32 | 0.11167 | 0.32 | all fibers ≧ 55dB
33013064100475 | 6081-ZN01700-0010 | 0.2 | 0.22 | 0.12 | 0.17 | 0.26 | 0.19 | 0.485 | 0.3 | 0.46 | 0.38 | 0.3 | 0.445 | 0.29417 | 0.485 | all fibers ≧ 55dB
33013064100408 | 6081-ZN01700-0012 | 0.05 | 0.02 | 0.01 | 0.07 | 0.1 | 0.07 | 0.1 | 0.04 | 0.09 | 0.08 | 0.06 | 0.26 | 0.079167 | 0.26 | all fibers ≧ 55dB
33013064100484 | 6081-ZN01700-0014 | 0.35 | 0.25 | 0.08 | 0.06 | 0.16 | 0.06 | 0.14 | 0.09 | 0.34 | 0.36 | 0.37 | 0.5 | 0.23 | 0.5 | all fibers ≧ 55dB
33013064100427 | 6081-ZN01700-0016 | 0.25 | 0.28 | 0.19 | 0.2 | 0.25 | 0.26 | 0.08 | 0.06 | 0.2 | 0.15 | 0.12 | 0.2 | 0.18667 | 0.28 | all fibers ≧ 55dB
33013064100415 | 6081-ZN01700-0018 | 0.09 | 0.07 | 0.03 | 0.08 | 0.1 | 0.05 | 0.11 | 0.17 | 0.14 | 0.1 | 0.02 | 0.17 | 0.094167 | 0.17 | all fibers ≧ 55dB
33013064100407 | 6081-ZN01700-0020 | 0.05 | 0.08 | 0.04 | 0.06 | 0.07 | 0.02 | 0.07 | 0.495 | 0.38 | 0.45 | 0.23 | 0.39 | 0.19458 | 0.495 | all fibers ≧ 55dB
33013064100439 | 6081-ZN01700-0022 | 0.05 | 0.05 | 0.02 | 0.05 | 0.06 | 0.02 | 0.12 | 0.09 | 0.26 | 0.1 | 0.06 | 0.17 | 0.0875 | 0.26 | all fibers ≧ 55dB
33013064100453 | 6081-ZN01700-0024 | 0.17 | 0.13 | 0.07 | 0.04 | 0.11 | 0.03 | 0.09 | 0.06 | 0.18 | 0.14 | 0.1 | 0.445 | 0.13042 | 0.445 | all fibers ≧ 55dB
33013064100480 | 6081-ZN01700-0026 | 0.3 | 0.3 | 0.13 | 0.05 | 0.1 | 0.08 | 0.08 | 0.03 | 0.21 | 0.08 | 0.14 | 0.25 | 0.14583 | 0.3 | all fibers ≧ 55dB
33013064100479 | 6081-ZN01700-0028 | 0.23 | 0.36 | 0.14 | 0.17 | 0.35 | 0.13 | 0.16 | 0.11 | 0.44 | 0.475 | 0.23 | 0.405 | 0.26667 | 0.475 | all fibers ≧ 55dB
33013064100478 | 6081-ZN01700-0030 | 0.1 | 0.24 | 0.11 | 0.05 | 0.21 | 0.14 | 0.15 | 0.07 | 0.32 | 0.18 | 0.16 | 0.32 | 0.17083 | 0.32 | all fibers ≧ 55dB
33013064100459 | 6081-ZN01700-0032 | 0.13 | 0.06 | 0.1 | 0.08 | 0.07 | 0.04 | 0.04 | 0.02 | 0.11 | 0.05 | 0.06 | 0.19 | 0.079167 | 0.19 | all fibers ≧ 55dB
33013064100402 | 6081-ZN01700-0034 | 0.02 | 0.06 | 0.03 | 0.1 | 0.06 | 0.06 | 0.08 | 0.06 | 0.07 | 0.05 | 0.1 | 0.02 | 0.059167 | 0.1 | all fibers ≧ 55dB
33013064100446 | 6081-ZN01700-0036 | 0.44 | 0.38 | 0.07 | 0.05 | 0.12 | 0.05 | 0.26 | 0.1 | 0.12 | 0.19 | 0.29 | 0.495 | 0.21375 | 0.495 | all fibers ≧ 55dB
33013064100473 | 6081-ZN01700-0038 | 0.01 | 0.11 | 0.02 | 0.03 | 0.02 | 0.05 | 0.08 | 0.09 | 0.06 | 0.12 | 0.07 | 0.19 | 0.070833 | 0.19 | all fibers ≧ 55dB
33013064100470 | 6081-ZN01700-0040 | 0.26 | 0.3 | 0.14 | 0.17 | 0.475 | 0.15 | 0.39 | 0.15 | 0.32 | 0.35 | 0.46 | 0.495 | 0.305 | 0.495 | all fibers ≧ 55dB
33013064100469 | 6081-ZN01700-0042 | 0.06 | 0.14 | 0.04 | 0.06 | 0.08 | 0.04 | 0.06 | 0.04 | 0.05 | 0.05 | 0.01 | 0.12 | 0.0625 | 0.14 | all fibers ≧ 55dB
33013064100490 | 6081-ZN01700-0044 | 0.23 | 0.47 | 0.475 | 0.36 | 0.21 | 0.23 | 0.495 | 0.48 | 0.44 | 0.13 | 0.17 | 0.11 | 0.31667 | 0.495 | all fibers ≧ 55dB
33013064100430 | 6081-ZN01700-0046 | 0.04 | 0.14 | 0.08 | 0.09 | 0.19 | 0.06 | 0.13 | 0.2 | 0.2 | 0.19 | 0.25 | 0.5 | 0.1725 | 0.5 | all fibers ≧ 55dB
33013064100497 | 6081-ZN01700-0048 | 0.18 | 0.21 | 0.08 | 0.12 | 0.07 | 0.04 | 0.1 | 0.09 | 0.07 | 0.11 | 0.13 | 0.35 | 0.12917 | 0.35 | all fibers ≧ 55dB
33013064100403 | 6081-ZN01700-0050 | 0.3 | 0.34 | 0.1 | 0.09 | 0.1 | 0.05 | 0.09 | 0.06 | 0.16 | 0.08 | 0.1 | 0.22 | 0.14083 | 0.34 | all fibers ≧ 55dB
33013064100410 | 6081-ZN01700-0052 | 0.19 | 0.25 | 0.39 | 0.44 | 0.26 | 0.09 | 0.435 | 0.09 | 0.02 | 0.09 | 0.06 | 0.06 | 0.19792 | 0.44 | all fibers ≧ 55dB
33013064100419 | 6081-ZN01700-0054 | 0.2 | 0.23 | 0.07 | 0.06 | 0.2 | 0.13 | 0.11 | 0.03 | 0.21 | 0.22 | 0.17 | 0.49 | 0.17667 | 0.49 | all fibers ≧ 55dB
33013064100406 | 6081-ZN01700-0056 | 0.04 | 0.09 | 0.01 | 0.01 | 0.06 | 0.04 | 0.05 | 0.05 | 0.08 | 0.13 | 0.05 | 0.19 | 0.066667 | 0.19 | all fibers ≧ 55dB
33013064100440 | 6081-ZN01700-0058 | 0.26 | 0.22 | 0.19 | 0.13 | 0.3 | 0.32 | 0.18 | 0.34 | 0.39 | 0.11 | 0.28 | 0.27 | 0.24917 | 0.39 | all fibers ≧ 55dB
33013064100447 | 6081-ZN01700-0060 | 0.15 | 0.16 | 0.33 | 0.36 | 0.16 | 0.475 | 0.31 | 0.28 | 0.39 | 0.06 | 0.06 | 0.31 | 0.25375 | 0.475 | all fibers ≧ 55dB
33013064100467 | 6081-ZN01700-0062 | 0.19 | 0.25 | 0.14 | 0.06 | 0.08 | 0.07 | 0.1 | 0.06 | 0.14 | 0.13 | 0.21 | 0.465 | 0.15792 | 0.465 | all fibers ≧ 55dB